## Slide 1: Approach for Including Nutrient Limitations within NDPDES Permits
Dallas Grossman
Division of Water Quality
701.328.5242

## Slide 2: Receiving Stream
Protect the near-field and far-field waterbody
  River/stream/lake
  Based on a water quality standard (narrative), total maximum daily load (TMDL), observed impacts, response variables, accelerated monitoring
  Total nitrogen for streams
  Total phosphorus for lakes and reservoirs

## Slide 3: Developing Loads and Concentrations
Technology Based Effluent Limitation (TBEL)
Water Quality Based Effluent Limitation (WQBEL)
Certain types of facilities will have established TBELs
Other types, such as Publicly Owned Treatment Works (POTWs), may have WQBELs
More stringent WQBELs could be applied to facilities with TBELs

## Slide 4: Developing Loads and Concentrations
Need to consider magnitude, duration and frequency of the discharge and loading
Review background and support documentation, as well as response variables
  Existing TMDL
  2000 Ecoregional Nutrient Criteria
  1986 Gold Book
  Chloraphyll a

## Slide 5: Developing Loads and Concentrations
Can use the U.S. Environmental Protection Agency’s Technical Support Document to conduct a reasonable potential analysis to determine loads and concentrations
Selection of critical stream and effluent flow will need to be established
Selection of critical stream and effluent concentrations will need to be established

## Slide 6: Translation to a Permit
Individual and general permits
  Standard individual and general permits for facilities in a watershed may have different permit cycles
Watershed permits
  One permit for all facilities in a watershed
  The effluent limitations for each facility in the watershed are established at the same time

## Slide 7: Translation to a Permit
Nutrient trading
  Probably want to avoid
  Have to set up a nutrient trading program
  Contracts between facilities
  Facilities with TBELs cannot trade above the TBEL

## Slide 8: Translation to a Permit
Variances
  Probably try to avoid variances for small lagoon system
  Small lagoons may be a small contributor
  May require seasonal discharges instead

## Slide 9: Translation to a Permit
Seasonal limitations
  Different limitations may be established based on the season (summer vs. winter)
Compliance schedules may be established to meet limitations
Antidegradation procedures will need to be followed if a facility cannot meet nutrient limitations

## Slide 10: Conclusion
The North Dakota Department of Health will need to establish protocols for including nutrient criteria within permits
  Background information that will be considered
  Critical flows and concentrations
  Permitting approach (individual, general and watershed permits)
  Nutrient trading
  Variances
  Type of limitations
  Compliance schedules
  Antidegradation

## Slide 11: Discussion